## Pipe Schedule
EE_Cross Passage | EE_Location and Lanes | EE_System Type | EE_Array Number | EE_Stock Code | EE_Item Description | Size | Outside Diameter | Qty | Length | EE_FAB Pipe | EE_PIPE END-1 | EE_PIPE END-2 | EE_Run Dim 1 | EE_Pap 1 | EE_Run Dim 2 | EE_Pap 2 | EE_Run Dim 3 | EE_Pap 3 | EE_Pipe Treatment | Family | Type | ID
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE |  |  | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 3658846
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 40-435 | 40 | 48.3 | 1 | 437 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658853
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 40-435 | 40 | 48.3 | 1 | 435 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658855
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 40-435 | 40 | 48.3 | 1 | 435 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658858
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 65-4730 | 65 | 76.1 | 1 | 4730 | STD 1 PAP RANGE | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658861
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE |  |  | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 3658881
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658883
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 65-4730 | 65 | 76.1 | 1 | 4730 | STD 1 PAP RANGE | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658899
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 150-3620 | 150 | 165.1 | 1 | 3620.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658907
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE |  |  | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 3658924
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658926
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 40-435 | 40 | 48.3 | 1 | 437 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658932
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 40-435 | 40 | 48.3 | 1 | 435 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658937
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 65-4730 | 65 | 76.1 | 1 | 4730 | STD 1 PAP RANGE | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658940
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE |  |  | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 3658959
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658961
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 65-4730 | 65 | 76.1 | 1 | 4730 | STD 1 PAP RANGE | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 3658977
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | 150-6500 | 150 | 165.1 | 1 | 6499.9 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 3665401
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | 150-6500 | 150 | 165.1 | 1 | 6500 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 3665404
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-300 | 150 | 168.3 | 1 | 300 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_Sched 40_Gal | 3907537
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-300 | 150 | 168.3 | 1 | 300 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_Sched 40_Gal | 3907554
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-1020 | 150 | 165.1 | 1 | 1017.6 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 3907580
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-1020 | 150 | 165.1 | 1 | 1017.6 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 3907586
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-450 | 150 | 165.1 | 1 | 448.8 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 3907614
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-900 | 150 | 165.1 | 1 | 899.2 | STD ARRAY TEE | RG | RG | 150 | 65LR |  |  |  |  | GAL |  | EE_Deluge_AS 1074_Gal | 3907650
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | 150-1260 | 150 | 165.1 | 1 | 1261.1 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 3908004
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | 150-3910 | 150 | 165.1 | 1 | 3911.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 3908190
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | 150-1075 | 150 | 165.1 | 1 | 1075.7 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 3908251
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | 150 | 65LR |  |  |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 4428450
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | 150 | 65LR |  |  |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 4428460
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE |  |  | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 4428489
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 150-1430 | 150 | 165.1 | 1 | 1428.7 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428491
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 40-325 | 40 | 48.3 | 1 | 327 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428496
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 65-4730 | 65 | 76.1 | 1 | 4730 | STD 1 PAP RANGE | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428500
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE |  |  | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 4428518
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428520
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 65-4730 | 65 | 76.1 | 1 | 4730 | STD 1 PAP RANGE | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428531
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE | 150 | 40B | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 4428637
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-690 | 65 | 76.1 | 1 | 691.5 | Groove_Thread | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428656
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-1155 | 65 | 76.1 | 1 | 1154.1 | Fabrication | RG | RG |  | 40B |  |  |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 4428696
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-1925 | 40 | 48.3 | 1 | 1927 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428709
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-6500 | 150 | 165.1 | 1 | 6500 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 4428948
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-6500 | 150 | 165.1 | 1 | 6500 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 4428954
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-600 | 150 | 165.1 | 1 | 601.1 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 4428960
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-4000 | 150 | 165.1 | 1 | 4000 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 4429006
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-1125 | 40 | 48.3 | 1 | 1127.1 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8177018
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-3410 | 65 | 76.1 | 1 | 3410.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179306
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE | 150 | 40B | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 8179384
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-690 | 65 | 76.1 | 1 | 691.5 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179397
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-1155 | 65 | 76.1 | 1 | 1154.1 | Fabrication | RG | RG | 1108 | [5 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179402
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-1345 | 40 | 48.3 | 1 | 1347 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179408
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-525 | 40 | 48.3 | 1 | 527 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179415
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-525 | 40 | 48.3 | 1 | 527 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179420
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-3410 | 65 | 76.1 | 1 | 3410.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179424
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-5295 | 65 | 76.1 | 1 | 5295 | STD 2 PAP RANGE | RG | BE | 150 | 40B | 5250 | 40B |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 8179461
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-690 | 65 | 76.1 | 1 | 691.4 | Groove_Thread | RG | BE | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179474
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-1155 | 65 | 76.1 | 1 | 1154.1 | Fabrication | RG | RG | 1110 | 40B |  |  |  |  | BLACK |  | EE_Deluge_AS 1074_Black | 8179479
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-1745 | 40 | 48.3 | 1 | 1747.1 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179485
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 65-3410 | 65 | 76.1 | 1 | 3410.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8179501
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-660 | 150 | 165.1 | 1 | 662.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8180918
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-1225 | 150 | 165.1 | 1 | 1226.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8180968
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-95 | 150 | 165.1 | 1 | 96.4 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8181275
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-2210 | 150 | 165.1 | 1 | 2209.7 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 8181376
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 40-175 | 40 | 48.3 | 1 | 176.9 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9164129
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 40-175 | 40 | 48.3 | 1 | 176.9 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9164265
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 40-325 | 40 | 48.3 | 1 | 327 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9164297
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 40-425 | 40 | 48.3 | 1 | 427 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9166387
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 40-425 | 40 | 48.3 | 1 | 427 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9166403
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 40-1125 | 40 | 48.3 | 1 | 1127 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9168798
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9235594
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | 150-3620 | 150 | 165.1 | 1 | 3620.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9235642
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 150-900 | 150 | 165.1 | 1 | 900 | STD ARRAY TEE | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9235667
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | 150-3590 | 150 | 165.1 | 1 | 3591.9 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 9235671
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-450 | 150 | 165.1 | 1 | 447.6 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 12364294
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | 150-1295 | 150 | 165.1 | 1 | 1295.7 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 12364485
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 40-325 | 40 | 48.3 | 1 | 325 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 12394731
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 40-325 | 40 | 48.3 | 1 | 325 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 12394733
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | 40-325 | 40 | 48.3 | 1 | 325 | Groove_Thread | TH | TH | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 12394735
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-890 | 150 | 165.1 | 1 | 887.8 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 12574796
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-870 | 150 | 165.1 | 1 | 870.6 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 12657003
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-860 | 150 | 165.1 | 1 | 859.3 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 12657025
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-1490 | 150 | 165.1 | 1 | 1498.1 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 12813851
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | 150-1480 | 150 | 165.1 | 1 | 1488.7 | Groove_Thread | RG | RG | [6 empty] | GAL |  | EE_Deluge_AS 1074_Gal | 12827126
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | 150-1990 | 150 | 165.1 | 1 | 1989.3 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14175157
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | 150-1315 | 150 | 165.1 | 1 | 1314 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14175283
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-370 | 150 | 165.1 | 1 | 369.3 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14175345
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-1620 | 150 | 165.1 | 1 | 1622.2 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14175367
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-535 | 150 | 165.1 | 1 | 535.4 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14175621
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | 150-6025 | 150 | 165.1 | 1 | 6025.9 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14175633
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | 150-910 | 150 | 165.1 | 1 | 912 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black | 14175751
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | 150-1310 | 150 | 165.1 | 1 | 1312 | Groove_Thread | RG | RG | [6 empty] | BLACK |  | EE_Deluge_AS 1074_Black_Coupling 177N | 14498969
Total | [7 empty] | 3

## Pipe Fitting Schedule
EE_Cross Passage | EE_Location and Lanes | EE_System Type | EE_Array Number | EE_Stock Code | EE_Item Description | Size | Outside Diameter | Qty | Length | EE_FAB Pipe | EE_PIPE END-1 | EE_PIPE END-2 | EE_Run Dim 1 | EE_Pap 1 | EE_Run Dim 2 | EE_Pap 2 | EE_Run Dim 3 | EE_Pap 3 | EE_Pipe Treatment | Family | Type | ID
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658847
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 40.2/56.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 3658856
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 40.2/56.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 3658859
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658860
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658863
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658865
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 3658867
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658882
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 3658884
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658898
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658901
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658903
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 3658906
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658925
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 40.2/56.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 3658938
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658939
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658942
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658944
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 3658946
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658960
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 3658962
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 3658976
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658979
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3658981
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 3658984
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3659008
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3659011
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3659014
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 3659015
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC FP TEE No 002 | 150x150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Tee No 002 | Standard | 3659016
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 3659017
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 3659018
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 3659019
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3665406
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3665408
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 3668813
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907535
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907539
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907543
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907552
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907556
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907560
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907606
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 3907608
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 3907972
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908006
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908035
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908192
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 3908232
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908253
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908293
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908704
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 3908744
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428444
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428445
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428451
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428454
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428457
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428461
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428464
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428466
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428467
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 4428490
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 4428499
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428502
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428504
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 4428519
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428521
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 4428530
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428533
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428535
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428537
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428544
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428545
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 4428633
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428644
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 90 DEG ELBOW No 001 | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4428650
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 90 DEG ELBOW No 001 | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4428652
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428654
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 4428658
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 4428701
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 4428710
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 4428735
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428737
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4428738
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4428745
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 4428752
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC FP TEE No 002 | 150x150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Tee No 002 | Standard | 4428941
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP CAP No 006 | 150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Cap No 006 | Standard | 4428946
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 4428952
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP CAP No 006 | 150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Cap No 006 | Standard | 4428957
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP TEE No 002 | 150x150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Tee No 002 | Standard | 4428959
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 4428963
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4428977
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP CAP No 006 | 150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Cap No 006 | Standard | 4428989
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4429014
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 4429055
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 40.2/56.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8176394
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 40.2/56.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8176410
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 40.2/56.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8176426
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | Hex Bushing Thread Reducer | 40x25 | 48.3 | 1 | 12.7 | [9 empty] | BLACK | Hex Bushing Thread Reducer | Standard | 8176449
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | Hex Bushing Thread Reducer | 40x25 | 48.3 | 1 | 12.7 | [9 empty] | BLACK | Hex Bushing Thread Reducer | Standard | 8176463
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | Hex Bushing Thread Reducer | 40x25 | 48.3 | 1 | 12.7 | [9 empty] | BLACK | Hex Bushing Thread Reducer | Standard | 8176477
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8176986
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179198
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179308
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 8179383
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179389
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 90 DEG ELBOW No 001 | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8179391
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 90 DEG ELBOW No 001 | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8179393
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179395
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179399
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 8179403
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8179409
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8179413
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8179418
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179426
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 8179460
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179466
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 90 DEG ELBOW No 001 | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8179468
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 90 DEG ELBOW No 001 | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8179470
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179472
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179476
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | BUTTWELD CAP END | 65 | 76.1 | 1 | [10 empty] | BLACK | Pipe Fitting - Butt-Welded Cap End | Standard | 8179480
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 8179486
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 65x65 | 76.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8179503
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | Hex Bushing Thread Reducer | 40x25 | 48.3 | 1 | 12.7 | [9 empty] | BLACK | Hex Bushing Thread Reducer | Standard | 8180418
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | Hex Bushing Thread Reducer | 40x25 | 48.3 | 1 | 12.7 | [9 empty] | BLACK | Hex Bushing Thread Reducer | Standard | 8180432
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8180707
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8180711
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8180855
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8180904
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8180920
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8180945
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8181211
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 8181215
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8181267
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8181277
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 8181378
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 9164130
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 9164266
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 9164298
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 9166390
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 9166406
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | THREADED-COUPLING CONCENTRIC REDUCING-Class 150 | 40x25 | 56.2/40.2 | 1 | 54 | [9 empty] | BLACK | Threaded - Coupling Concentric Reducing - MI - DN40-25 | Standard | 9168796
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 9235596
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 9235644
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 9235669
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 9235673
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | VIC FP CAP No 006 | 150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Cap No 006 | Standard | 10224375
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | VIC FP CAP No 006 | 150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Cap No 006 | Standard | 10224386
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 12340529
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 12364296
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 12364487
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | Hex Bushing Thread Reducer | 40x25 | 48.3 | 1 | 12.7 | [9 empty] | BLACK | Hex Bushing Thread Reducer | Standard | 12395056
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12666866
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12666870
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP CONCENTRIC REDUCER No 50 | 150x150 |  | 1 | [10 empty] | GAL | Victaulic-Reducer No 50-51_DN168.3 - DN165.1 | Standard | 12667137
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12667261
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP CONCENTRIC REDUCER No 50 | 150x150 |  | 1 | [10 empty] | GAL | Victaulic-Reducer No 50-51_DN168.3 - DN165.1 | Standard | 12667360
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12667534
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12667626
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12667630
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 12813853
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12813855
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12813857
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 12813863
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12813865
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12813867
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 12813869
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12813872
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12813874
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 12827120
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12827122
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12827124
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 12827136
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12827139
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12827141
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 12827143
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12827145
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N | Standard | 12827147
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14089522
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | VIC FP 45 DEG ELBOW No 003 | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-Elbow No 001-003 | Standard | 14089572
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175123
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175159
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175285
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175291
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175347
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175369
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175427
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175497
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175623
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 14175629
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175635
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14175641
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union | Standard | 14175753
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | VIC QUICKVIC COUPLING STYLE 177N (FLEX) | 150x150 | 165.1 | 1 | [10 empty] | BLACK | Victaulic-IPS-QuickVic Flexible Coupling Style 177_Union | Standard | 14498971
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 14872410
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP COUPLING STYLE 009N (RIGID) | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-FireLock EZ Rigid Coupling Style 009N_Union_DN168 | Standard | 14872412
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 15198067
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | VIC FP 90 DEG ELBOW No 001 | 150x150 | 165.1 | 1 | [10 empty] | GAL | Victaulic-FP-Elbow No 001-003 | Standard | 15198070
Total | [21 empty] | 1517632799

## Pipe Accessory Schedule
EE_Cross Passage | EE_Location and Lanes | EE_System Type | EE_Array Number | EE_Stock Code | EE_Item Description | Size | Outside Diameter | Qty | Length | EE_FAB Pipe | EE_PIPE END-1 | EE_PIPE END-2 | EE_Run Dim 1 | EE_Pap 1 | EE_Run Dim 2 | EE_Pap 2 | EE_Run Dim 3 | EE_Pap 3 | EE_Pipe Treatment | Family | Type | ID
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3658875
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3658908
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3658911
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3658953
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3658985
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3658988
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | PS02.08 | 150x150 |  | 1 | [10 empty] | GAL | PS02.08 | PS02.08 | 3907519
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | FP-DELUGE VALVE-DN150 | 150x150x50 |  | 1 | [10 empty] | GAL | FP-DELUGE VALVE-DN150 | FP-DELUGE VALVE-DN150 | 3907534
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | Victaulic-FP-Series 705 Butterfly Valve | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-Series 705 Butterfly Valve | Standard | 3907549
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | Victaulic-FP-Series 705 Butterfly Valve | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-Series 705 Butterfly Valve | Standard | 3907550
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | FP-DELUGE VALVE-DN150 | 150x150x50 |  | 1 | [10 empty] | GAL | FP-DELUGE VALVE-DN150 | FP-DELUGE VALVE-DN150 | 3907551
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | Victaulic-FP-Series 705 Butterfly Valve | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-Series 705 Butterfly Valve | Standard | 3907566
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | Victaulic-FP-Series 705 Butterfly Valve | 150x150 | 168.3 | 1 | [10 empty] | GAL | Victaulic-FP-Series 705 Butterfly Valve | Standard | 3907567
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | GAL | PS04.03 | PS04.03 | 3907662
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | GAL | PS04.03 | PS04.03 | 3907672
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909208
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909210
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909212
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909214
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909216
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909218
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 3909232
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4428448
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4428458
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4428469
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4428472
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4428512
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4428538
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 4429071
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179321
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179323
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179327
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179329
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179430
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179432
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179434
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179436
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179505
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179509
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179511
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 8179513
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625782
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625783
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625788
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625789
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625790
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625791
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625792
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625793
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625956
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625957
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625958
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625959
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625960
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625961
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625962
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9625963
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9626512
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9627175
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9627361
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9627818
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9627954
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9627955
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628244
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628245
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628258
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628259
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628333
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628334
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9628338
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832010
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832011
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832012
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832013
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832014
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832015
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832016
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | PS04.04 | 65x65 |  | 1 | [10 empty] | BLACK | PS04.04 | PS04.04 | 9832017
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9860118
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 9860191
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 10659226
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 10659227
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | W-4-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-4-3 | W-4-3 | 11156794
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | W-4-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-4-3 | W-4-3 | 11156799
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | W-4-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-4-3 | W-4-3 | 11156853
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | W-4-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-4-3 | W-4-3 | 11156858
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | W-4-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-4-3 | W-4-3 | 11156982
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | W-4-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-4-3 | W-4-3 | 11156992
EXP61054 | M110 | CW-DISTRIBUTION | EXP61054A |  | W-2-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-2-3 | W-2-3 | 11157090
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | W-2-3 | 150x150 |  | 1 | [10 empty] | BLACK | W-2-3 | W-2-3 | 11157093
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 12050098
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 12050101
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | W-4-3 | 150x150 |  | 1 | [10 empty] | GAL | W-4-3 | W-4-3 | 12325439
EXP61054 | M110 | CP-EXTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 12420592
EXP61054 | M111 | CP-EXTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 12420594
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | BLACK | PS04.03 | PS04.03 | 12423280
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | PS02.08 | 150x150 |  | 1 | [10 empty] | GAL | PS02.08 | PS02.08 | 12573563
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | GAL | PS04.03 | PS04.03 | 12575340
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | PS04.03 | 150x150 |  | 1 | [10 empty] | GAL | PS04.03 | PS04.03 | 12575462
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | W-4-3 | 150x150 |  | 1 | [10 empty] | GAL | W-4-3 | W-4-3 | 12657053
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | Pipe Support_Type PHCB_Ver2 | 150x150 |  | 1 | [10 empty] | GAL | Pipe Support_Type PHCB_Ver2 | Pipe Support_Type PHCB_Ver2 | 12819107
EXP61054 | M110-M111 | CP-INTERNAL | EXP61054 |  | Pipe Support_Type PHCB_Ver2 | 150x150 |  | 1 | [10 empty] | GAL | Pipe Support_Type PHCB_Ver2 | Pipe Support_Type PHCB_Ver2 | 12827117
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | W-2-3A | 150x150 |  | 1 | [10 empty] | BLACK | W-2-3A | W-2-3A | 14872211
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | W-2-3A | 150x150 |  | 1 | [10 empty] | BLACK | W-2-3A | W-2-3A | 14872226
EXP61054 | M111 | CW-DISTRIBUTION | EXP61154A |  | W-2-3A | 150x150 |  | 1 | [10 empty] | BLACK | W-2-3A | W-2-3A | 14872229
Total | [21 empty] | 896100851

## Sprinkler Schedule
EE_Cross Passage | EE_Location and Lanes | EE_System Type | EE_Array Number | EE_Stock Code | EE_Item Description | Size | Outside Diameter | Qty | Length | EE_FAB Pipe | EE_PIPE END-1 | EE_PIPE END-2 | EE_Run Dim 1 | EE_Pap 1 | EE_Run Dim 2 | EE_Pap 2 | EE_Run Dim 3 | EE_Pap 3 | EE_Pipe Treatment | Family | Type | ID
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 3658852
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 3658854
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 3658857
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176393
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176409
EXP61054 | M110 | CW-ARRAY | EXP61054A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176425
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 3658931
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 3658933
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 3658936
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 9164128
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 9164264
EXP61054 | M110 | CW-ARRAY | EXP61054A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 9164296
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 4428751
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176446
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176460
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176474
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 9166389
EXP61054 | M111 | CW-ARRAY | EXP61154A-1 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 9166405
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 4428708
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8176985
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8179407
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8179412
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8179417
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8179484
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8180415
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 8180429
EXP61054 | M111 | CW-ARRAY | EXP61154A-2 |  | TNL-280 |  |  | 1 | [11 empty] | Sprinkler Nozzle_Reliable_TNL280 | Sprinkler Nozzle_Reliable_TNL280 | 9168795
Total | [21 empty] | 192119255